Comanche Greywater Discussion

02/07/2025

Attendees:

- Tim Lohner, manages permitting work, twlohner@aep.com

- Greg Carter, involved with Comanche, wgcarter@aep.com

- Carol Campbell, Environmental Permitting Specialist, cdcampbell@aep.com

- Adam Oberst, Environmental Coordinator, atoberst@aep.com

- Danny Engle, Graduate Env Science program, dlengle@aep.com

- Scott Carney, scarney@aep.com

- Kevin Ouelette, Ops Supervisor

- Toby Peterson, Plant Manager

- Katie VanderEspt, Water treatment technologies, kvanderespt@epri.com

- Jesse Cannon, Water quality and effluent guidelines, jcannon@epri.com

- Jeff Thomas, Water quality and effluent guidelines, jthomas@epri.com

Notes:

Site Background:

- Greg: It was a mutual agreement to build this plant to use the WWTP water. They've been tied at the hip from the get-go, and more often than not their compliance issues have been poor. It's been a rocky relationship for the past 50 years.

- Kevin: They've never come and visited us, but if we invited them they'd probably come. AEP went and visited them last year.

Fish Kills/Algae Issues:

- Greg: The site was prepping for quarterly biomonitoring (same time they measured DO), but there was a fish kill, so they suspended the biomonitoring because they were concerned that it would fail. Comanche has no pre-treatment.

- Kevin: If they get high humidity and low winds, and oxygen demand drops, algae die off, gets toxic, and kill the fish within the cooling reservoir. If they see dying fish, they stop discharging immediately into the 9-mile river. The last fish kill they had was a couple of days before biomonitoring - usually takes about a week for the fish kill to resolve

  - Unsure if low DO or algae toxins cause the fish kill

  - Tim: When it resolves, do you notice anything different about the reservoir or weather? Kevin says not really, he said the first fish kill was in 2024 (Maybe 2023?) they had several days of low wind, and DO sample was 5. Typically, fish need 6.5-8

- Kevin: 2023 was an outlier, they had 3 fishkills. First was shad, about 4-8". The last one they had in the fall was catfish, shad, carp, and some small perch that came up too.

  - Jeff: Shad kill doesn't scare him, lots of places get annual die-offs. The carps and catfish are more concerning, it's more  benthic zone.

  - Kevin: When they take DO samples, they take the water from 3 different locations, but not from different depths

- Jeff: What kind of algae? Kevin said golden algae is pretty common in the state, Adam agrees with this. Kevin thinks the low DO kills the algae, and then it gets toxic, which causes a chain reaction. Jeff said that even without dying, golden algae can produce a toxin that can decimate fish and other aquatic organisms.

  - Adam: Whenever they have fish kills, the best opportunity is taking samples immediately, and they've never had the opportunity to do this. They usually take samples after the fact

  - Tim: Would you recommend that we get samples to identify the algae? Jeff mentioned it would be good to have these

Operations:

- Greg: Something unique about the plant is that there’s a ~2-ft window in terms of when they can operate. So they need the water quite often. Keep in mind that there's very little watershed in this reservoir, the watershed basically is Lawton.

- Kevin: During the summer, they bring in the same amount of water that is either used or evaporated. They pump less in the winter because they have less evaporation, but from May to August/September they have to keep pumping no matter what.

Operational Issues:

- Kevin: If the WWTP exceeds limits in September, they'll notify them in early October when they submit the DNR. By that time, the slug has already gone through the lake. In terms of issues, they see anything and everything - Oxygen demand, TDS, Chlorine, Ammonia, TSS, E. coli, etc.

- Adam: If there is an issue with water quality at the cooling reservoir, we just stop releasing. A lot of the exceedances that the POTW has aren't in the AEP permit requirements. That is a concern of AEPs, that later on down the line these could be put into their own permits.

  - The permit renewal that they have now doesn't have current coordination with the POTW

  - Comanche has additional monitoring that they'll have to do in the next 36 months (sulfates, chlorides, TDS) that may change their permitting

  - Kevin: If they’re assigned a TDS permit, they wouldn't meet the regulations

- Tim: Tim shares Kevin's main concern about them having the additional monitoring for TDS. It's already in their watershed and upstream, they didn't add it, but the regulations only allow you to do so much. Jeff mentioned their MITE model which breaks down the components of TDS and looks at the major ions. This may be one tool to try out at Comanche.

- Greg: He got a note from Steve Wells about PFAS potentially being a concern down the line. Even though they don't have cooling towers, they can still cycle up some from the natural/forced evaporation of that cooling pond (natural evaporation is 80-90 inches, and rainfall is 20-30 during the summer).

- Tim: He mentioned thinking about variance. As a compliance method for PFAS, like how Ohio has a state-wide mercery limit for variance. Tim wants to know what we'd suggest in a way for a sampling plan - they can send us a water balance, what their current sampling plan is, and any WQ results.

- Jeff: Maybe ultrasonic is good for this pond? You'll have to know what the specific type of algae is. He also suggests sending some fish off (not the shad) to figure out if the DO killed them or the algae toxins.

Other:

- Greg: Anecdotally, the city WWTP has told them that their biggest problem is from the paper mill. They don't have any details from what they're aware of.

- Dan: Long-term, they're planning on moving a new plant to replace the old plant.

- Kevin: E. coli was a job hazard. You can't touch your hands and face if you're around the traveling/intake screens. They’ve sampled multiple times throughout the years and have had evidence of fecal matter show up. They took a sample at the pump station and the E. Coli levels went off-scale (more than what the instrument could measure). Most of the E. coli samples that they've taken have been pretty high

  - The WWTP water quality really went downhill once they got rid of their final settling pond, which was removed due to compliance issue (unsure of what)