## Sheet1
Pollutant | Typical Source | Likely Origin | Comments
Fecal coliform / E. coli | Domestic sewage and human waste | Lawton WWTP | Not produced by power plant processes; presence indicates incomplete disinfection of municipal wastewater.
Carbonaceous biochemical oxygen demand (CBOD₅) | Biodegradable organic matter in municipal wastewater | Lawton WWTP | Elevated CBOD₅ indicates incomplete biological treatment and high organic loading from the WWTP.
Total suspended solids (TSS) | Settleable and non-settleable solids in sewage and treatment residuals | Lawton WWTP | High TSS reflects inadequate clarification or filtration in the treatment process.
Zinc (Zn) and copper (Cu) | Household plumbing, industrial dischargers to the sewer system | Primarily Lawton WWTP | Spikes may reflect contributions from upstream industrial users; not typically generated by combustion itself.
Temperature | Cooling water discharge from power generation | PSO Comanche Facility | Represents thermal loading from plant operations rather than WWTP performance.
Chlorine (residual) | Onsite disinfection or cooling system treatment | PSO Comanche Facility | Associated with plant disinfection and biofouling control rather than municipal wastewater inputs.
pH | Chemical treatment, process control at the plant and in WWTP | Mixed | Can be influenced by both WWTP effluent and plant chemical treatment; interpretation depends on context.